## Slide 1: Medical Image Manipulation
Prof. Yasser Mostafa Kadah – www.k-space.org

## Slide 2: Recommended Reference
Roger Bourne, Fundamentals of Digital Imaging in Medicine, Springer-Verlag, London, 2010.

## Slide 3: Medical Imaging
Methodology to measure and map a useful property of human tissues
Non-invasive or minimally-invasive
Examples:
  Reflection – photography, ultrasound
  Transmission – x-rays
  Radiation – MRI, PET/SPECT

## Slide 4: Analog and Digital Systems
Analog (Film)
Digital (Filmless)

## Slide 5: Analog (Film) vs. Digital Images
Contrast enhancement in digital systems allows much better viewing

## Slide 6: Digital Image Characteristics
Pixels
  Physical element of sensor array
  Element of image matrix inside a computer
  Element of display monitor
Image Size, Scale, and Resolution (Sampling)
  Example: FOV= 20cm x 20cm, Matrix= 256 x 256

## Slide 7: Digital Image Characteristics
Bit Depth (Quantization)
  Example: typical 10-12 bits for medical images, 8-bits for displays
  Humans can reliably distinguish only about 32 gray scale levels
Lookup Tables (grayscale or color)
Image Metadata

## Slide 8: Spatial Domain vs. Fourier Domain
Spatial domain is the natural domain of image display
Fourier domain is the natural domain of raw data in some modalities such as MRI
  2DFT is used for reconstruction

## Slide 9: Image Quality Metrics
Adequate contrast and resolution and low noise level

## Slide 10: Image Contrast Adjustment
Window and Level
Nonlinear curve (e.g., gamma correction)

## Slide 11: Image Resizing Using Interpolation
Nearest Neighbor Interpolation
Bilinear Interpolation
Bicubic Interpolation
Fourier (Sinc) Interpolation (Best)

## Slide 12: Spatial Domain Image Filters

## Slide 13: Spatial Domain Image Filters: Types
Average
Roberts
Prewitt
Sobel

## Slide 14: Spatial Domain Image Filters: Types
Laplacian
High-Boost

## Slide 15: Quantitative Quality Metrics
Signal-to-Noise Ratio (SNR)
Contrast-to-Noise Ratio (CNR)

## Slide 16: Assignments
Research Problem #1