## Slide 1: Biopotential Amplifiers
Prof. Yasser Mostafa Kadah
EE 471

## Slide 2: Op Amp Basics
Op Amp is a high-gain differential amplifier
Ideal Op Amp characteristics:
  Gain is infinite
  Input impedance is infinite
  Output impedance is zero
  Bandwidth is infinite
Ideal Op Amp rules for circuit design:
  V+ = V– (input terminals have same voltage)
  i+ = i– = 0 (no current through input terminals)
Basic design approach: design Op Amp circuit using ideal rules then check practical issues

## Slide 3: Practical Issues
Linear range limitations (saturation)
  Depends on power supply range (slightly less) and Op Amp type
Gain-Bandwidth Product = Constant for a given Op Amp
  Maximum gain determined by bandwidth of signal for a given Op Amp

## Slide 4: Practical Issues
Slew Rate: rate of change of voltage output per time
  Identify maximum input frequency and amplitude applicable
  to amplifier such that output is not significantly distorted
Offset voltage: small voltage between V+ and V–
  Offset nulling available in some Op Amps
  May also drift with time
Bias Current: small currents flowing into i+ and i–
  Always use DC coupling for input terminals

## Slide 5: Practical Example: 741 Op Amp

## Slide 6: Example Basic Op Amp Circuits

## Slide 7: Example Basic Op Amp Circuits

## Slide 8: Photodiode/Transistor Amplifier

## Slide 9: Comparator
Op Amp without Feedback
Schmitt Trigger

## Slide 10: Power Switching
Note: Diode snubber is needed if load is inductive

## Slide 11: Active Half-Wave Rectifier

## Slide 12: Absolute-Value and Log Amplifiers
Active full-wave rectifier
Logarithmic Amplifier: add output stage with diode feedback
  Ebers-Moll relation:
  Valid for >0

## Slide 13: Instrumentation Amplifier

## Slide 14: Practical Example: AD620

## Slide 15: Final Notes for Op Amp Circuits
Check practical limitations to ensure validity of Op Amp rules
Feedback must be arranged so that it is negative
  Must not mix up inverting and noninverting inputs
There must always be feedback at DC in op-amp circuit
  Otherwise, op-amp is guaranteed to go into saturation

## Slide 16: Active Filters
Detection of a wanted signal may be impossible if unwanted signals and noise are not removed sufficiently by filtering
Electronic filters allow some signals to pass, but stop others
  To be more precise, filters allow some signal frequencies applied at their input terminals to pass through to their output terminals with little or no reduction in signal level
Passive Filters: Rely on passive R, L, and C components only
Active Filters: Involve Op Amps
Ideal Filter Response

## Slide 17: Practical Filter Response
Lowpass
Highpass
Bandpass
Bandstop

## Slide 18: Common Filter Response Functions
Butterworth filter
Chebyshev filter
Bessel filter
Elliptic function (Cauer) filter

## Slide 19: Sallen-Key Filters
Simple Sallen-Key Filters: Gain=1 and 2 poles (2nd order)
Voltage Controlled Voltage Source (VCVS) filters: Gain=K > 1
Low-pass filter
High-pass filter

## Slide 20: VCVS Filter Design Using Table
To construct n-pole filter, cascade n/2 VCVS sections
  Within each section, R1=R2=R, and C1=C2=C
  Set gain K of each stage according to table entries
To calculate values for R and C:
  Butterworth: use RC= 1/2πfc
  Chebyshev/Bessel: use RC= 1/2πcnfc
Example

## Slide 21: Design of VCVS Other Filter Responses
Same low-pass filter design table is used for all filter types
To design high-pass filter, interchange R and C components
  Butterworth: everything else remains unchanged
  Bessel and Chebyshev: K values remain same, but normalizing factors cn must be inverted (i.e., 1/cn)
To design band-pass filter, cascade overlapping lowpass and high-pass filters
To design band-reject filter, sum outputs of two non-overlapping low-pass and high-pass filters

## Slide 22: Reading Assignment
Read Chapters 4, 5.15, 6 of Art of Electronics